SECTION  – quality requirements

This Section is a CANADIAN master. This section is NOT fully edited for Canadian use.

This Section uses the term "Consultant." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

1. General
   1. SUMMARy
      1. This Section includes administrative and procedural requirements for quality assurance and quality control.
      2. Testing and inspecting services are required to verify compliance with requirements specified or indicated. These services do not relieve Contractor of responsibility for compliance with the Contract Document requirements.
         1. Specific quality-control requirements for individual construction activities are specified in the Sections that specify those activities. Requirements in those Sections may also cover production of standard products.
         2. Specified tests, inspections, and related actions do not limit Contractor's quality-control procedures that facilitate compliance with the Contract Document requirements.
         3. Requirements for Contractor to provide quality-control services required by Consultant, Owner, [Commissioning Authority,] or authorities having jurisdiction are not limited by provisions of this Section.
         4. Specific test and inspection requirements are not specified in this Section.
   2. definitions
      1. Quality-Assurance Services: Activities, actions, and procedures performed before and during execution of the Work to guard against defects and deficiencies and ensure that proposed construction complies with requirements.
      2. Quality-Control Services: Tests, inspections, procedures, and related actions during and after execution of the Work to evaluate that completed construction complies with requirements. Services do not include contract enforcement activities performed by Consultant.

Specify specific requirements for mockup size, location, composition and final disposition (removal or incorporation into the Work) of mockups in individual specification Sections.

* + 1. Mockups: Full-size physical assemblies that are constructed on-site, unless indicated otherwise. Mockups are constructed to verify selections made under Sample submittals; to demonstrate aesthetic effects and, where indicated, qualities of materials and execution; to review coordination, testing, or operation; to show interface between dissimilar materials; and to demonstrate compliance with specified installation tolerances. Mockups are not Samples. Unless otherwise indicated, approved mockups establish the standard by which the Work will be judged.
       1. Room Mockups: Mockups of typical interior spaces complete with wall, floor, and ceiling finishes, doors, windows, millwork, casework, specialties, furnishings and equipment, and lighting.
    2. Product Testing: Tests and inspections that are performed by an NRTL, an NVLAP, or a testing agency qualified to conduct product testing and acceptable to authorities having jurisdiction, to establish product performance and compliance with specified requirements.
    3. Field Quality-Control Testing: Tests and inspections that are performed on-site for installation of the Work and for completed Work.
    4. Testing Agency: An entity engaged to perform specific tests, inspections, or both. Testing laboratory shall mean the same as testing agency.
    5. Installer/Applicator/Erector: Contractor or another entity engaged by Contractor as an employee, Subcontractor, or Sub-subcontractor, to perform a particular construction operation, including installation, erection, application, and similar operations.
       1. Use of trade-specific terminology in referring to a trade or entity does not require that certain construction activities be performed by accredited or unionized individuals, or that requirements specified apply exclusively to specific trade(s).
    6. Experienced: When used with an entity or individual, "experienced" means having successfully completed a minimum of five (5) previous projects similar in nature, size, and extent to this Project; being familiar with special requirements indicated; and having complied with requirements of authorities having jurisdiction.
    7. Professional Engineer: Engineer currently licensed to practice in the Province of the Work.
  1. conflicting requirements
     1. Referenced Standards: If compliance with two or more standards is specified and the standards establish different or conflicting requirements for minimum quantities or quality levels, comply with the most stringent requirement. Refer conflicting requirements that are different, but apparently equal, to Consultant for a decision before proceeding.
     2. Minimum Quantity or Quality Levels: The quantity or quality level shown or specified shall be the minimum provided or performed. The actual installation may comply exactly with the minimum quantity or quality specified, or it may exceed the minimum within reasonable limits. To comply with these requirements, indicated numeric values are minimum or maximum, as appropriate, for the context of requirements. Refer uncertainties to Consultant for a decision before proceeding.
  2. INFORMATIONAL SUBMITTALS

Retain "Contractor's Statement of Responsibility" Paragraph below when local code requirements stipulate submittal to authorities having jurisdiction of Contractor's statement of responsibility for seismic-resisting system construction and if an informational submittal is required. See requirements in the 2006 IBC, Sections 1705 and 1706.

* + 1. Contractor's Statement of Responsibility: When required by authorities having jurisdiction, submit copy of written statement of responsibility sent to authorities having jurisdiction before starting work on the following systems:
       1. Seismic-force-resisting system, designated seismic system, or component listed in the designated seismic system quality-assurance plan prepared by Consultant.
    2. Testing Agency Qualifications: For testing agencies specified in "Quality Assurance" Article to demonstrate their capabilities and experience. Include proof of qualifications in the form of a recent report on the inspection of the testing agency by a recognized authority.
    3. Schedule of Tests and Inspections: Prepare in tabular form and include the following:
       1. Specification Section number and title.
       2. Description of test and inspection.
       3. Identification of applicable standards.
       4. Identification of test and inspection methods.
       5. Number of tests and inspections required.
       6. Time schedule or time span for tests and inspections.
       7. Entity responsible for performing tests and inspections.
       8. Requirements for obtaining samples.
       9. Unique characteristics of each quality-control service.
    4. Testing Agency and Inspection Reports: Prepare and submit certified written reports that include the following:
       1. Date of issue.
       2. Project title and number.
       3. Name, address, and telephone number of testing agency.
       4. Dates and locations of samples and tests or inspections.
       5. Names of individuals making tests and inspections.
       6. Description of the Work and test and inspection method.
       7. Identification of product and Specification Section.
       8. Complete test or inspection data.
       9. Test and inspection results and an interpretation of test results.
       10. Ambient conditions at time of sample taking and testing and inspecting.
       11. Comments or professional opinion on whether tested or inspected Work complies with the Contract Document requirements.
       12. Name and signature of laboratory inspector.
       13. Recommendations on retesting and reinspecting.
    5. Manufacturer's Technical Representative's Field Reports: Prepare written information documenting manufacturer's technical representative's tests and inspections specified in other Sections. Include the following:
       1. Name, address, and telephone number of technical representative making report.
       2. Statement on condition of substrates and their acceptability for installation of product.
       3. Statement that products at Project site comply with requirements.
       4. Summary of installation procedures being followed, whether they comply with requirements and, if not, what corrective action was taken.
       5. Results of operational and other tests and a statement of whether observed performance complies with requirements.
       6. Statement whether conditions, products, and installation will affect warranty.
       7. Other required items indicated in individual Specification Sections.
    6. Factory-Authorized Service Representative's Reports: Prepare written information documenting manufacturer's factory-authorized service representative's tests and inspections specified in other Sections. Include the following:
       1. Name, address, and telephone number of factory-authorized service representative making report.
       2. Statement that equipment complies with requirements.
       3. Results of operational and other tests and a statement of whether observed performance complies with requirements.
       4. Statement whether conditions, products, and installation will affect warranty.
       5. Other required items indicated in individual Specification Sections.
    7. Permits, Licenses, and Certificates: For Owner's records, submit copies of permits, licenses, certifications, inspection reports, releases, jurisdictional settlements, notices, receipts for fee payments, judgments, correspondence, records, and similar documents, established for compliance with standards and regulations bearing on performance of the Work.
  1. QUALITY ASSURANCE
     1. General: Qualifications paragraphs in this article establish the minimum qualification levels required; individual Specification Sections specify additional requirements.
     2. Fabricator Qualifications: A firm experienced and expert in producing products similar to those indicated for this Project and with a three-year record of successful in-service performance, as well as sufficient production capacity to produce required units.
     3. Factory-Authorized Service Representative Qualifications: An authorized representative of manufacturer who is trained and approved by manufacturer to inspect installation of manufacturer's products that are similar in material, design, and extent to those indicated for this Project.
     4. Installer Qualifications: A firm or individual experienced in installing, erecting, or assembling work similar in material, design, and extent to that indicated for this Project, whose work has resulted in construction with a three-year record of successful in-service performance.
     5. Manufacturer Qualifications: A firm experienced in manufacturing products or systems similar to those indicated for this Project and with a five-year record of successful in-service performance.
     6. Manufacturer's Technical Representative Qualifications: An authorized representative of manufacturer who is trained and approved by manufacturer to observe and inspect installation of manufacturer's products that are similar in material, design, and extent to those indicated for this Project.
     7. Professional Engineer Qualifications: A professional engineer who is experienced in providing engineering services of the kind indicated. Engineering services are defined as those performed for installations of the system, assembly, or products that are similar to those indicated for this Project in material, design, and extent.
     8. Testing Agency Qualifications:
        1. Companies engaged for inspection and testing shall provide equipment, methods of recording and evaluation, and knowledgeable personnel to conduct tests precisely as specified in reference standards.
        2. If requested, submit affidavits and copies of certificates of calibration made by an accredited calibrator to verify that testing equipment was calibrated and its accuracy ensured within the previous twelve (12) months.
        3. Inspection and testing of concrete and concrete materials will be carried out by a CSA Certified testing laboratory to CSA A283, for review in accordance with CSA A23.1/A23.2.
     9. Mockups: Before installing portions of the Work requiring mockups, build mockups for each form of construction and finish specified in individual Sections, to comply with the following requirements, using materials indicated for the completed Work:
        1. Build mockups in location and of size indicated or, if not indicated, as directed by Consultant.
        2. Notify Consultant seven days in advance of dates and times when mockups will be constructed.
        3. Employ supervisory personnel who will oversee mock-up construction. Employ workers that will be employed during the construction at Project.
        4. Demonstrate the proposed range of aesthetic effects and workmanship.
        5. Obtain Consultant's approval of mockups before starting work, fabrication, or construction.
           1. Allow seven days for initial review and each re-review of each mock-up.
        6. Maintain mockups during construction in an undisturbed condition as a standard for judging the completed Work.
        7. Demolish and remove mockups when directed, unless otherwise indicated.
  2. QUALITY CONTROL

Retain "Owner Responsibilities" Paragraph below if some Specification Sections designate Owner as responsible for tests and inspections.

* + 1. Owner Responsibilities: Where quality-control services are indicated as Owner's responsibility, Owner will engage a qualified testing agency to perform these services.
       1. Owner will furnish Contractor with names, addresses, and telephone numbers of testing agencies engaged and a description of the types of testing and inspecting they are engaged to perform.
       2. Costs for retesting and reinspecting construction that replaces or is necessitated by work that failed to comply with the Contract Documents will be charged to Contractor, and the Contract Sum will be adjusted by Change Order.
    2. Contractor Responsibilities: Tests and inspections not explicitly assigned to Owner are Contractor's responsibility. Perform additional quality-control activities required to verify that the Work complies with requirements, whether specified or not.
       1. Unless otherwise indicated, provide quality-control services specified and those required by authorities having jurisdiction. Perform quality-control services required of Contractor by authorities having jurisdiction, whether specified or not.
       2. Where services are indicated as Contractor's responsibility, engage a qualified testing agency to perform these quality-control services.
          1. Contractor shall not employ the same entity engaged by Owner, unless agreed to in writing by Owner.
       3. Notify testing agencies at least twenty- four (24) hours in advance of time when Work that requires testing or inspecting will be performed.
       4. Where quality-control services are indicated as Contractor's responsibility, submit a certified written report, in duplicate, of each quality-control service.
       5. Testing and inspecting requested by Contractor and not required by the Contract Documents are Contractor's responsibility.
       6. Submit additional copies of each written report directly to authorities having jurisdiction when they so direct.
       7. Provide quality assurance and control services required due to changes in the Work proposed by or made by the Contractor.
       8. Provide quality control services for Work done contrary to the Contract Documents, without prior notice, when so specified, or without proper supervision.
       9. Overtime expenses and schedule delays accruing as a result of executing quality control services shall be the Contactor's responsibility and shall not be charged to the Owner.
    3. Manufacturer's Field Services: Where indicated, engage a factory-authorized service representative to inspect field-assembled components and equipment installation, including service connections. Report results in writing as specified in Section 01 33 00 "Submittal Procedures."
    4. Manufacturer's Technical Services: Where indicated, engage a manufacturer's technical representative to observe and inspect the Work. Manufacturer's technical representative's services include participation in preinstallation conferences, examination of substrates and conditions, verification of materials, observation of Installer activities, inspection of completed portions of the Work, and submittal of written reports.
    5. Retesting/Reinspecting: Regardless of whether original tests or inspections were Contractor's responsibility, provide quality-control services, including retesting and reinspecting, for construction that revised or replaced Work that failed to comply with requirements established by the Contract Documents. Consultant retains the right to require the use of a different testing agency for retesting ad reinspecting.
    6. Testing Agency Responsibilities: Cooperate with Consultant, Commissioning Authority, and Contractor in performance of duties. Provide qualified personnel to perform required tests and inspections.
       1. Notify Consultant, Commissioning Authority, and Contractor promptly of irregularities or deficiencies observed in the Work during performance of its services.
       2. Determine the location from which test samples will be taken and in which in-situ tests are conducted.
       3. Conduct and interpret tests and inspections and state in each report whether tested and inspected work complies with or deviates from requirements.
       4. Submit a certified written report, in duplicate, of each test, inspection, and similar quality-control service through Contractor.
       5. Do not release, revoke, alter, or increase requirements of the Contract Documents or approve or accept any portion of the Work.
       6. Do not perform any duties of Contractor.
       7. Attend Project progress meetings as requested by Consultant.
    7. Associated Services: Cooperate with agencies performing required tests, inspections, and similar quality-control services, and provide reasonable auxiliary services as requested. Notify agency sufficiently in advance of operations to permit assignment of personnel. Provide the following:
       1. Access to the Work.
       2. Incidental labor and facilities necessary to facilitate tests and inspections.
       3. Adequate quantities of representative samples of materials that require testing and inspecting. Assist agency in obtaining samples.
       4. Facilities for storage and field-curing of test samples.
       5. Delivery of samples to testing agencies or arranging for pick-up of test samples after normal business hours.
       6. Preliminary design mix proposed for use for material mixes that require control by testing agency.
       7. Security and protection for samples and for testing and inspecting equipment at Project site.
    8. Coordination: Coordinate sequence of activities to accommodate required quality-assurance and quality control services with a minimum of delay and to avoid necessity of removing and replacing construction to accommodate testing and inspecting.
       1. Schedule times for tests, inspections, obtaining samples, and similar activities.
    9. Schedule of Tests and Inspections: Prepare a schedule of tests, inspections, and similar quality-control services required by the Contract Documents. Coordinate and submit schedule concurrently with Contractor's Construction Schedule as specified in Section 01 32 00 – Construction Progress Documentation.
       1. Distribution: Distribute schedule to Owner, Consultant, Commissioning Authority, testing agencies, and each party involved in performance of portions of the Work where tests and inspections are required.
  1. SPECIAL TEST AND INSPECTIONS
     1. Special Tests and Inspections: Owner will engage a qualified special inspector to conduct special tests and inspections required by authorities having jurisdiction as the responsibility of Owner, and as follows:
        1. Verifying that manufacturer maintains detailed fabrication and quality-control procedures and reviews the completeness and adequacy of those procedures to perform the Work.
        2. Notifying Consultant, Commissioning Authority, and Contractor promptly of irregularities and deficiencies observed in the Work during performance of its services.
        3. Submitting a certified written report of each test, inspection, and similar quality-control service to Consultant and Commissioning Authority, with copy to Contractor and to authorities having jurisdiction.
        4. Submitting a final report of special tests and inspections at Substantial Completion, which includes a list of unresolved deficiencies.
        5. Interpreting tests and inspections and stating in each report whether tested and inspected work complies with or deviates from the Contract Documents.
        6. Retesting and reinspecting corrected work.

1. Products

Not Used

1. Execution
   1. test and inspection log
      1. Test and Inspection Log: Prepare a record of tests and inspections. Include the following:
         1. Date test or inspection was conducted.
         2. Description of the Work tested or inspected.
         3. Date test or inspection results were transmitted to Consultant.
         4. Identification of testing agency or special inspector conducting test or inspection.
      2. Maintain log at Project site. Post changes and revisions as they occur. Provide access to test and inspection log for Consultant's and Commissioning Authority's, reference during normal working hours.
   2. repair and protection
      1. General: On completion of testing, inspecting, sample taking, and similar services, repair damaged construction and restore substrates and finishes.
         1. Provide materials and comply with installation requirements specified in other Specification Sections or matching existing substrates and finishes. Restore patched areas and extend restoration into adjoining areas with durable seams that are as invisible as possible. Comply with the Contract Document requirements for Section 01 73 00 – Execution.
      2. Protect construction exposed by or for quality-control service activities.
      3. Repair and protection are Contractor's responsibility, regardless of the assignment of responsibility for quality-control services.

END OF SECTION